## G100
BẢNG GIÁ BIẾN TẦN LS - HÀN QUỐC
(Áp dụng từ ngày 01-10-2026)
Tên hàng | KW | HP | In (A) |  | Mô tả | Đơn giá (VNĐ)
3Ø 200V Class 0.4~7.5KW * Non-Filter Type. |  |  | HD | ND
LSLV0004G100-2EONN | 0.4KW | 0.5HP | 2.5A | 3.1A | Biến tần đa năng: | 5000000
LSLV0008G100-2EONN | 0.75KW | 1HP | 5A | 6A | Sử dụng trong tất cả các ngành công nghiệp bao gồm gia công kim loại, máy đúc, thiết bị thủy lực/ điều hòa không khí, thực phẩm và đồ uống/ máy dệt, thang máy/ băng tải và xử lý môi trường nước. | 5400000
LSLV0015G100-2EONN | 1.5KW | 2HP | 8A | 9.6A |  | 6200000
LSLV0022G100-2EONN | 2.2KW | 3HP | 11A | 12A |  | 7400000
LSLV0040G100-2EONN | 4KW | 5HP | 17A | 18A | . Máy cắt/ uốn/ đánh bóng | 8300000
LSLV0055G100-2EONN | 5.5KW | 7.5HP | 24A | 30A | . Quạt/ Bơm | 12200000
LSLV0075G100-2EONN | 7.5KW | 10HP | 32A | 40A | . Máy ép/ băng tải | 13800000
LSLV0110G100-2EONN | 11KW | 15HP | 47A | 56A | . Máy hút bụi/ tủ đông | 25600000
LSLV0150G100-2EONN | 15KW | 20HP | 60A | 70A | . Máy nén/ thổi | 29500000
LSLV0185G100-2EONN | 18.5KW | 25HP | 75A | 82A | . Cẩu trục (Nâng hạ, xe con, xe cẩu) | 34000000
LSLV0220G100-2EONN | 22KW | 30HP | 88A |  |  | 40000000
3Ø 400V Class 0.4~7.5KW * Non-Filter Type. |  |  | HD | ND
LSLV0004G100-4EONN | 0.4KW | 0.5HP | 1.3A | 2A |  | 5400000
LSLV0008G100-4EONN | 0.75KW | 1HP | 2.5A | 3.1A | *HD(Heavy Duty): Tải nặng 150% dòng định mức/1 phút | 5700000
LSLV0015G100-4EONN | 1.5KW | 2HP | 4A | 5.1A | **ND(Normal Duty): Tải nhẹ 120% dòng định mức/1 phút | 6200000
LSLV0022G100-4EONN | 2.2KW | 3HP | 5.5A | 6.9A |  | 7000000
LSLV0040G100-4EONN | 4KW | 5HP | 9A | 10A |  | 8400000
LSLV0055G100-4EONN | 5.5KW | 7.5HP | 12A | 16A |  | 11800000
LSLV0075G100-4EONN | 7.5KW | 10HP | 16A | 23A |  | 13000000
LSLV0110G100-4EONN | 11KW | 15HP | 47A | 56A |  | 22600000
LSLV0150G100-4EONN | 15KW | 20HP | 60A | 70A |  | 24700000
LSLV0185G100-4EONN | 18.5KW | 25HP | 75A | 82A |  | 29000000
LSLV0220G100-4EONN | 22KW | 30HP | 88A |  |  | 32000000
3Ø 400V Class 0.4~7.5KW * Built-in Filter (C3) |  |  | HD | ND
LSLV0004G100-4EOFN | 0.4KW | 0.5HP | 1.3A | 2A |  | 5700000
LSLV0008G100-4EOFN | 0.75KW | 1HP | 2.5A | 3.1A |  | 6000000
LSLV0015G100-4EOFN | 1.5KW | 2HP | 4A | 5.1A |  | 6500000
LSLV0022G100-4EOFN | 2.2KW | 3HP | 5.5A | 6.9A |  | 7400000
LSLV0040G100-4EOFN | 4KW | 5HP | 9A | 10A |  | 8800000
LSLV0055G100-4EOFN | 5.5KW | 7.5HP | 12A | 16A |  | 12400000
LSLV0075G100-4EOFN | 7.5KW | 10HP | 16A | 23A |  | 13500000
LSLV0110G100-4EOFN | 11KW | 15HP | 47A | 56A |  | 23500000
LSLV0150G100-4EOFN | 15KW | 20HP | 60A | 70A |  | 25300000
LSLV0185G100-4EOFN | 18.5KW | 25HP | 75A | 82A |  | 30000000
LSLV0220G100-4EOFN | 22KW | 30HP | 88A |  |  | 32600000
LOADER REMOTE 2M (LSLV-G100),A2MT-G100 |  |  |  |  | Bàn phím dùng gắn ngoài kèm cáp kết nối loại 2 mét | 1320000
- GHI CHÚ: Giá này chưa bao gồm VAT

## iS7
BẢNG GIÁ BIẾN TẦN LS - HÀN QUỐC
| (Áp dụng từ ngày 20-04-2021) | (Áp dụng từ ngày 01-10-2026)
Tên hàng | KW | HP | In (A) |  | Mô tả | Đơn giá (VNĐ)
Loại 3 pha 380~480VAC |  |  | HD | ND | : V/f, V/f PG, sensorless vector, sensored vector, CT/VT dual ratings, built-in RS485(LS Bus / Modbus RTU)
SV0008IS7-2NO | 0.75 | 1HP | 5A | 8A | BIẾN TẦN HIỆU SUẤT CAO | 12800000
SV0015IS7-2NO | 1.5 | 2HP | 8A | 12A | IS7 là một biến tần với hiệu suất và độ tin cậy cao có thể áp dụng cho mọi môi trường làm việc. Mục đích sử dụng: | 13400000
SV0022IS7-2NO | 2.2 | 3HP | 12A | 16A |  | 14200000
SV0037IS7-2NO | 3.7 | 5HP | 16A | 24A | . Máy dầm, máy cán, máy kéo | 14700000
SV0055IS7-2NO | 5.5 | 7.5HP | 24A | 32A | . Dây chuyển lắp ráp lốp xe | 16500000
SV0075IS7-2NO | 7.5 | 10HP | 32A | 46A | . Thang máy, cần trục, cầu trục | 18200000
SV0110IS7-2NO | 11 | 15HP | 46A | 60A | . Thiết bị đỗ xe, kho hàng tự động | 28700000
SV0150IS7-2NO | 15 | 20HP | 60A | 74A | . Máy ép, máy rửa, máy khử nước, máy nén... | 32200000
SV0185IS7-2NO | 18.5 | 25HP | 74A | 88A | 3 phase, 200~230VAC(+10%,-15%), 50~60Hz(±5%), 0.01~400Hz,, tích hợp transistor điều khiển điện trở thắng | 43200000
SV0220IS7-2NO | 22 | 30HP | 88A | 124A |  | 49000000
SV0300IS7-2SO | 30 | 40HP | 116A | 146A | 3 phase, 200~230VAC(+10%,-15%), 50~60Hz(±5%), 0.01~400Hz, built-in keypad | 73000000
SV0370IS7-2SO | 37 | 50HP | 146A | 180A |  | 85000000
SV0450IS7-2SO | 45 | 60HP | 180A | 220A |  | 96000000
SV0550IS7-2SO | 55 | 75HP | 220A | 288A |  | 127300000
SV0750IS7-2SO | 75 | 100HP | 288A | 345A |  | 141500000
Loại 3 pha 380~480VAC |  |  | HD | ND | Built-in RS485(LS Bus / Modbus RTU)/ Ứng dụng cho các tải nặng như băng tải, máy khuấy, máy nén…, N: Chưa có màn hình, D: Tích hợp DC Reactor, Từ 0.75-22Kw tích hợp DBU
SV0008IS7-4NO | 0.75 | 1HP | 2.5A | 4A | 3 pha, 380~480VAC(+10%,-15%),50~60Hz (±5%), 0.01~400Hz, tích hợp transistor điều khiển điện trở thắng | 12500000
SV0015IS7-4NO | 1.5 | 2HP | 4A | 6A |  | 12900000
SV0022IS7-4NO | 2.2 | 3HP | 6A | 8A |  | 13700000
SV0037IS7-4NO | 3.7 | 5HP | 8A | 12A |  | 14000000
SV0055IS7-4NO | 5.5 | 7.5HP | 12A | 16A |  | 16000000
SV0075IS7-4NO | 7.5 | 10HP | 16A | 24A |  | 17300000
SV0110IS7-4NO | 11 | 15HP | 24A | 30A |  | 26800000
SV0150IS7-4NO | 15 | 20HP | 30A | 39A |  | 29600000
SV0185IS7-4NO | 18.5 | 25HP | 39A | 45A |  | 36600000
SV0220IS7-4NO | 22 | 30HP | 45A | 61A |  | 41500000
SV0300IS7-4NO | 30 | 40HP | 62A | 75A | 3 pha, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.01~400Hz | 62000000
SV0370IS7-4NO | 37 | 50HP | 75A | 91A |  | 67000000
SV0450IS7-4NO | 45 | 60HP | 92A | 110A |  | 80000000
SV0550IS7-4NO | 55 | 75HP | 111A | 152A |  | 88000000
SV0750IS7-4NO | 75 | 100HP | 152A | 183A |  | 105000000
SV0008IS7-4NOFD | 0.75 | 1HP | 2.5A | 4A | 3 pha, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.01~400Hz, tích hợp transistor điều khiển điện trở thắng, bộ lọc EMC, cuộn kháng DC | 15300000
SV0015IS7-4NOFD | 1.5 | 2HP | 4A | 6A |  | 16200000
SV0022IS7-4NOFD | 2.2 | 3HP | 6A | 8A |  | 17000000
SV0037IS7-4NOFD | 3.7 | 5HP | 8A | 12A |  | 17500000
SV0055IS7-4NOFD | 5.5 | 7.5HP | 12A | 16A |  | 20000000
SV0075IS7-4NOFD | 7.5 | 10HP | 16A | 24A |  | 21700000
SV0110IS7-4NOFD | 11 | 15HP | 24A | 30A |  | 33700000
SV0150IS7-4NOFD | 15 | 20HP | 30A | 39A |  | 39000000
SV0185IS7-4NOFD | 18.5 | 25HP | 39A | 45A |  | 47600000
SV0220IS7-4NOFD | 22 | 30HP | 45A | 61A |  | 54000000
SV0300IS7-4NOD | 30 | 40HP | 65A | 75A | 3 pha, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.01~400Hz, tích hợp cuộn kháng DC | 69000000
SV0370IS7-4NOD | 37 | 50HP | 75A | 91A |  | 77000000
SV0450IS7-4NOD | 45 | 60HP | 91A | 110A |  | 90000000
SV0550IS7-4NOD | 55 | 75HP | 110A | 152A |  | 101000000
SV0750IS7-4NOD | 75 | 100HP | 152A | 183A |  | 115000000
SV0900IS7-4SOD | 90 | 125HP | 183A | 223A | 3 pha, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.01~400Hz, tích hợp cuộn kháng DC, bàn phím | 175000000
SV1100IS7-4SOD | 110 | 150HP | 223A | 264A |  | 186000000
SV1320IS7-4SOD | 132 | 175HP | 264A | 325A |  | 206000000
SV1600IS7-4SOD | 160 | 215HP | 325A | 370A |  | 266000000
SV1850IS7-4SOD | 185 | 250HP | 370A | 432A |  | 360000000
SV2200IS7-4SOD | 220 | 300HP | 432A | 547A |  | 380000000
SV2800IS7-4SO | 285 | 350HP | 547A | 613A | 3 pha, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.01~400Hz, bàn phím | 656000000
SV3150IS7-4SO | 315 | 400HP | 613A | 731A |  | 805000000
SV3750IS7-4SO | 375 | 500HP | 731A | 877A |  | 865000000
SV-IS7 LCD Key pad |  |  |  |  | Bảng điều khiển màn hình màu dùng cho iS7 (đa ngôn ngữ: English, Italian, Spanish, Russian, Turkish) | 1920000
Remote cable 2m (for IS7 ) |  |  |  |  | Cáp kết nối bảng điều khiền và biến tần iS7 loại 2 mét | 500000
Remote cable 3m (for IS7 ) |  |  |  |  | Cáp kết nối bảng điều khiền và biến tần iS7 loại 3 mét | 530000
OPTION PROFIBUS-DP,SV-IS7 | [5 empty] | 5200000
OPTION EXTENSION I/O,SV-IS7 | [5 empty] | 5000000
ENCODER OPTION ,SV-IS7 | [5 empty] | 1800000
- GHI CHÚ: Giá này chưa bao gồm VAT

## H100
BẢNG GIÁ BIẾN TẦN LS - HÀN QUỐC
(Áp dụng từ ngày 01-10-2026)
Tên hàng | KW | HP | In (A) |  | Mô tả | Đơn giá (VNĐ)
Biến tần cho quạt và bơm: Loại 3 Pha 220~230VAC - IP20 |  |  |  | ND | V/f, RS485(LS Bus / Modbus RTU / BACnet / Metasys N2), Pulse train I/O, RTC(Real Time Clock), đã có màn hình (HAND/OFF/AUTO), USB Port/ Ứng dụng chuyên cho hệ HVAC, Bơm, Quạt…,
LSLV0055H100-2CONN | 5.5kW | 7.5HP |  | 22A | BIẾN TẦN CHO QUẠT VÀ BƠM | 13600000
LSLV0075H100-2CONN | 7.5kW | 10HP |  | 30A | Dùng trong các ngành công nghiệp: xây dựng, kim loại, bột giấy/ giấy, mỏ than, xử lý dầu khí và nước; (quạt/ bơm, máy sấy) | 15600000
LSLV0110H100-2CONN | 11KW | 15HP |  | 42A |  | 18700000
LSLV0150H100-2CONN | 15KW | 20HP |  | 59A |  | 23700000
LSLV0185H100-2CONN | 18.5KW | 25HP |  | 69A |  | 31200000
Biến tần cho quạt và bơm: Loại 3 Phase 380~480VAC - IP20, IP00 |  |  |  | ND
LSLV0055H100-4COFN | 5.5kW | 7.5HP |  | 12A |  | 13000000
LSLV0075H100-4COFN | 7.5kW | 10HP |  | 16A |  | 15000000
LSLV0110H100-4COFN | 11KW | 15HP |  | 24A |  | 17400000
LSLV0150H100-4COFN | 15KW | 20HP |  | 30A |  | 22900000
LSLV0185H100-4COFN | 18.5KW | 25HP |  | 38A |  | 27400000
LSLV0220H100-4COFN | 22KW | 30HP |  | 45A | Built-in Dynamic braking transistor, EMC Filter(C3) | 34800000
LSLV0300H100-4COFN | 30KW | 40HP |  | 61A |  | 41000000
LSLV0370H100-4COND | 37KW | 50HP |  | 75A | 3 phase, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, IP20, built-in DC Reactor | 52000000
LSLV0450H100-4COND | 45KW | 60HP |  | 91A |  | 63000000
LSLV0550H100-4COND | 55KW | 75HP |  | 107A |  | 73500000
LSLV0370H100-4COFD | 37KW | 50HP |  | 75A | 3 phase, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, built-in EMC Filter(C3), DC Reactor | 58400000
LSLV0450H100-4COFD | 45KW | 60HP |  | 91A |  | 70000000
LSLV0550H100-4COFD | 55KW | 75HP |  | 107A |  | 81000000
LSLV0750H100-4COFD | 75KW | 100HP |  | 142A |  | 83000000
LSLV0900H100-4COFD | 90KW | 125HP |  | 169A |  | 100000000
LSLV1100H100-4COFD | 110KW | 150HP |  | 223 | 3 phase, 380~500VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, IP20, built-in EMC Filter(C3), DC Reactor | 147000000
LSLV1320H100-4COFD | 132KW | 200HP |  | 264 |  | 153000000
LSLV1600H100-4COFD | 160KW | 250HP |  | 325 |  | 177000000
LSLV1850H100-4COFD | 185KW | 300HP |  | 370 |  | 203000000
LSLV2200H100-4COFD | 220KW | 350HP |  | 432 | 220kW(350HP), 3 phase, 380~500VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, IP00, built-in EMC Filter(C3), DC Reactor | 239000000
LSLV2500H100-4COFD | 250KW | 400HP |  | 481 |  | 270000000
LSLV3150H100-4COFD | 315KW | 500HP |  | 613 |  | 590000000
LSLV3550H100-4COFD | 355KW | 550HP |  | 683 |  | 664000000
LSLV4000H100-4COFD | 400KW | 650HP |  | 770 |  | 734000000
LSLV5000H100-4COFD | 500KW | 800HP |  | 962 |  | 810000000
- GHI CHÚ: | **HD(Heavy Duty) Overload 150% 1min.
**ND(Normal Duty): Overload 110% or 120% 1min
** Giá này chưa bao gồm VAT

## M100 & L100
BẢNG GIÁ BIẾN TẦN LS - HÀN QUỐC
(Áp dụng từ ngày 01-10-2026)
Tên hàng | KW | HP | Overload capacity | Output (A) | Mô tả | Đơn giá (VNĐ)
Loại 1 pha 200~240VAC - IP20 |  |  | HD | ND | : V/f, fixed keypad, EMC filter(C2)
LSLV0001M100-1EOFNS | 0.1KW | 1/8HP | 0.8A | - | BIẾN TẦN MICRO: | 3500000
LSLV0002M100-1EOFNS | 0.2KW | 1/4HP | 1.4A | - | - Sử dụng cho các máy móc, quạt/ bơm và băng tải nhỏ. | 3600000
LSLV0004M100-1EOFNS | 0.4KW | 1/2HP | 2.4A | - | - Lắp đặt trên thanh Din Rail. | 3860000
LSLV0008M100-1EOFNS | 0.75KW | 1HP | 4.2A | - |  | 4100000
LSLV0015M100-1EOFNS | 1.5KW | 2HP | 7.5A | - |  | 4800000
LSLV0022M100-1EOFNS | 2.2KW | 3HP | 10A | - |  | 5400000
LSLV0001M100-1EOFNA | 0.1KW | 1/8HP | 0.8A | - |  | 3860000
LSLV0002M100-1EOFNA | 0.2KW | 1/4HP | 1.4A | - |  | 3960000
LSLV0004M100-1EOFNA | 0.4KW | 1/2HP | 2.4A | - |  | 4200000
LSLV0008M100-1EOFNA | 0.75KW | 1HP | 4.2A | - | EOFNS: (Standard I/O: 3 Digital Inputs, 1 Analog Input, 1 Analog Output, 1 Open Collector, 1 Relay) | 4400000
LSLV0015M100-1EOFNA | 1.5KW | 2HP | 7.5A | - | EOFNA: (Advanced I/O: 5 Digital Inputs, 2 Analog Input, 1 Analog Output, 1 Open Collector, 2 Relay, RS485) | 5300000
LSLV0022M100-1EOFNA | 2.2KW | 3HP | 10A | - |  | 5700000
Tên hàng | KW | HP | Overload capacity | Output (A) | Mô tả | Đơn giá (VNĐ)
L100 series for Elevator Application: |  |  |  |  | Biến tần thang máy
LSLV0055L100-4NNFN | 5.5 | 7.5 | 150% for 1 min. | 12 |  | 21200000
LSLV0075L100-4NNFN | 7.5 | 10 | 150% for 1 min. | 16 |  | 25800000
LSLV0110L100-4NNFN | 11 | 15 | 150% for 1 min. | 24 |  | 30000000
LSLV0150L100-4NNFN | 15 | 20 | 150% for 1 min. | 30 |  | 37000000
LSLV0185L100-4NNFN | 18.5 | 25 | 150% for 1 min. | 39 |  | 43000000
LSLV0220L100-4NNFN | 22 | 30 | 150% for 1 min. | 45 |  | 53000000
ENCODER(LSLV-L100),XENC-L100 | [5 empty] | Call
SIN/COS ENCODER(LSLV-L100),XSIN-L100 | [5 empty] | Call
SIN/COS_ENDAT ENCODER(LSLV-L100),XEDT-100 | [5 empty] | Call
ELEVATOR I/O(LSLV-L100),XELV-L100 | [5 empty] | Call
REMOTE 2M(LSLV-L100),A2MT-L100 | [5 empty] | Call
REMOTE 3M(LSLV-L100),A3MT-L100 | [5 empty] | Call
REMOTE 5M(LSLV-L100),A5MT-L100 | [5 empty] | Call
RS232 CABLE 2M(LSLV-L100),S2MT-L100 | [5 empty] | Call
- GHI CHÚ: Giá này chưa bao gồm VAT
- Khả dụng cho nhiều loại tải khác nhau (Thang khách, thang hàng, thang máy đỗ xe,…)
- Có thể điều khiển động cơ IM hoặc động cơ PM, có hộp số hay không có hộp số
- Điều khiển vector vòng hở và vector vòng kín cho động cơ IM hoặc PM tiêu chuẩn (với Incremental encoder, SIN/COS encoder, Endat encoder)
-Kích thước nhỏ gọn cho phép lắp đặt không phòng máy

## Phu kien
BẢNG GIÁ BIẾN TẦN LS - HÀN QUỐC
(Áp dụng từ ngày 01-10-2026)
Tên hàng |  | Mô tả |  | Đơn giá (VNĐ)
Dynamic Braking Unit (DBU) Bộ Transistor để gắn Điện trở xả vào.
Dynamic Braking Unit (DBU) - 200~230V
| LSLV0150DBU-2LN | Brake unit for 15kW, 220V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 5300000
| LSLV0220DBU-2LN | Brake unit for 22kW, 220V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 6000000
| LSLV0370DBU-2LN | Brake unit for 37kW, 220V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 7400000
| LSLV0370DBU-2HN | Brake unit for 37kW, 220V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 17000000
| LSLV0750DBU-2LN | Brake unit for 75kW, 220V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 10000000
| LSLV0750DBU-2HN | Brake unit for 75kW, 220V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 25000000
| LSLV0900DBU-2HN | Brake unit for 90kW, 220V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 28000000
Dynamic Braking Unit (DBU) - 380~400V
| LSLV0150DBU-4LN | Brake unit for 15kW, 440V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 5300000
| LSLV0220DBU-4LN | Brake unit for 22kW, 440V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 6000000
| LSLV0370DBU-4LN | Brake unit for 37kW, 440V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 7400000
| LSLV0370DBU-4HN | Brake unit for 37kW, 440V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 16000000
| LSLV0750DBU-4LN | Brake unit for 75kW, 440V / 150% Average Braking Torque / 5~10%ED (Enable Duty) |  | 9400000
| LSLV0750DBU-4HN | Brake unit for 75kW, 440V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 22800000
| INV,SV750DB-4 | Brake unit for 75kW, 440V / 150% Average Braking Torque / 100%ED (Enable Duty), CE certificated |  | 32000000
| LSLV0900DBU-4HN | Brake unit for 90kW, 440V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 27800000
| LSLV1320DBU-4HN | Brake unit for 132kW, 440V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 34000000
| LSLV1600DBU-4HN | Brake unit for 160kW, 440V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 46000000
| LSLV2200DBU-4HN | Brake unit for 220kW, 440V / 150% Average Braking Torque / 5~50%ED (Enable Duty) |  | 51000000
| INV,SV2200DB-4 | Brake unit for 220kW, 440V / 150% Average Braking Torque / 100%ED (Enable Duty), CE certificated |  | 39000000
External brake resistors (Điện trở xả) |  | Temperature range: -50~200°C , Insulation resistance: over 100MΩ, Dielectric strength: AC 2,500V / 1 Min, Temperature coefficient: ±260 ppm / °C max
| MCRA 50W 1.8K OHM J | 50 wat, 1800ohm resistor ( Based on 5% ED ( Enable duty)) |  | 350000
| MCRA 100W 1.2K OHM J | 100 wat, 1200ohm resistor ( Based on 5% ED ( Enable duty)) |  | 350000
| MCRA 200W 1.2K OHM J | 200 wat, 1200ohm resistor ( Based on 5% ED ( Enable duty)) |  | 540000
| MCRA 100W 900 OHM J | 100 wat, 900ohm resistor ( Based on 5% ED ( Enable duty)) |  | 250000
| MCRA 150W 600 OHM J | 150 wat, 600ohm resistor ( Based on 5% ED ( Enable duty)) |  | 300000
| MCRA 200W 450 OHM J | 200 wat, 450ohm resistor ( Based on 5% ED ( Enable duty)) |  | 420000
| MCRA 50W 400 OHM J | 50 wat, 400ohm resistor ( Based on 5% ED ( Enable duty)) |  | 240000
| MCRA 100W 300 OHM J | 100 wat, 300ohm resistor ( Based on 5% ED ( Enable duty)) |  | 250000
| MCRA 200W 300 OHM J | 200 wat, 300ohm resistor ( Based on 5% ED ( Enable duty)) |  | 420000
| MCRA 100W 200 OHM J | 100 wat, 200ohm resistor ( Based on 5% ED ( Enable duty)) |  | 250000
| MCRA 150W 150 OHM J | 150 wat, 150ohm resistor ( Based on 5% ED ( Enable duty)) |  | 300000
| MCRA 200W 100 OHM J | 200 wat, 100ohm resistor ( Based on 5% ED ( Enable duty)) |  | 420000
| MCRF 300W 600 OHM J | 300 wat, 600ohm resistor ( Based on 5% ED ( Enable duty)) |  | 650000
| MCRF 300W 300 OHM J | 300 wat, 300ohm resistor ( Based on 5% ED ( Enable duty)) |  | 580000
| MCRF 600W 300 OHM J | 600 wat, 300ohm resistor ( Based on 5% ED ( Enable duty)) |  | 860000
| MCRF 400W 200 OHM J | 400 wat, 200ohm resistor ( Based on 5% ED ( Enable duty)) |  | 720000
| MCRF 800W 200 OHM J | 800 wat, 200ohm resistor ( Based on 5% ED ( Enable duty)) |  | 960000
| MCRF 300W 150 OHM J | 300 wat, 1500ohm resistor ( Based on 5% ED ( Enable duty)) |  | 600000
| MCRF 600W 130 OHM J | 600 wat, 130ohm resistor ( Based on 5% ED ( Enable duty)) |  | 860000
| MCRF 1.2kW 130 OHM J | 1200 wat, 130ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1150000
| MCRF 700W 120 OHM J | 700 wat, 120ohm resistor ( Based on 5% ED ( Enable duty)) |  | 940000
| MCRF 1kW 90 OHM J | 1000 wat, 90ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1050000
| MCRF 1kW 85 OHM J | 1000 wat, 85ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1050000
| MCRF 2kW 85 OHM J | 2000 wat, 85ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1960000
| MCRF 300W 60 OHM J | 300 wat, 60ohm resistor ( Based on 5% ED ( Enable duty)) |  | 600000
| MCRF 600W 60 OHM J | 600 wat, 60ohm resistor ( Based on 5% ED ( Enable duty)) |  | 860000
| MCRF 1.2kW 60 OHM J | 1200 wat, 60ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1170000
| MCRF 400W 50 OHM J | 400 wat, 50ohm resistor ( Based on 5% ED ( Enable duty)) |  | 720000
| MCRF 800W 50 OHM J | 800 wat, 50ohm resistor ( Based on 5% ED ( Enable duty)) |  | 960000
| MCRF 2kW 45 OHM J | 2000 wat, 45ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1960000
| MCRF 500W 40 OHM J | 500 wat, 40ohm resistor ( Based on 5% ED ( Enable duty)) |  | 770000
| MCRF 2kW 40 OHM J | 2000 wat, 40ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1960000
| MCRF 1.6kW 33.9 OHM J | 1600 wat, 33.9ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1500000
| MCRF 600W 33 OHM J | 600 wat, 33ohm resistor ( Based on 5% ED ( Enable duty)) |  | 860000
| MCRF 1.2kW 33 OHM J | 1200 wat, 33ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1180000
| MCRF 800W 20 OHM J | 800 wat, 20ohm resistor ( Based on 5% ED ( Enable duty)) |  | 960000
| MCRF 1.6kW 20 OHM J | 1600 wat, 20ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1500000
| MCRF 1.2kW 15 OHM J | 1200 wat, 15ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1180000
| MCRF 1.6kW 8.5 OHM J | 1600 wat, 8.5ohm resistor ( Based on 5% ED ( Enable duty)) |  | 1500000
| MCRS 2.4kW 60 OHM J | 2400 wat, 60ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
| MCRS 2.4kW 35 OHM J | 2400 wat, 35ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
| MCRS 2.4kW 30 OHM J | 2400 wat, 30ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
| MCRS 2.4kW 22.8 OHM J | 2400 wat, 22.8ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
| MCRS 2.4kW 15 OHM J | 2400 wat, 15ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
| MCRS 2.4kW 10 OHM J | 2400 wat, 10ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
| MCRS 2.4kW 8 OHM J | 2400 wat, 8ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
| MCRS 2.4kW 5.7 OHM J | 2400 wat, 5.7ohm resistor ( Based on 5% ED ( Enable duty)) |  | 3000000
Brake resistors (Case package type with thermostat sensor) |  | Temperature range: -50~200°C , Insulation resistance: over 20MΩ, Dielectric strength: AC 2,500V / 1 Min, Temperature coefficient: ±260 ppm / °C max, Thermostat sensor: B contact
| MCRF-ST 1.2kW 60 OHM J | 1200 watt, 60 ohm resistor, | 1200 watt, 60 ohm resistor, | 3900000
| MCRF-ST 2kW 45 OHM J | 2000 watt, 45 ohm resistor |  | 4500000
| MCRF-ST 2kW 40 OHM J | 2000 watt, 40 ohm resistor |  | 4500000
| MCRF-ST 4kW 40 OHM J | 4000 watt, 40 ohm resistor | 4000 watt, 40 ohm resistor | 7700000
| MCRF-ST 2.4kW 35 OHM | 2400 watt, 35 ohm resistor | 2400 watt, 35 ohm resistor | 5400000
| MCRF-ST 1.6kW 33.9 OHM J | 1600 watt, 33.9 ohm resistor | 1600 watt, 33.9 ohm resistor | 4500000
| MCRF-ST 2.4kW 30 OHM J | 2400 watt, 30 ohm resistor | 2400 watt, 30 ohm resistor | 5400000
| MCRF-ST 4.8kW 30 OHM J | 4800 watt, 30 ohm resistor | 4800 watt, 30 ohm resistor | 9200000
| MCRF-ST 2.4kW 22.8 OHM J | 2400 watt, 30 ohm resistor | 2400 watt, 30 ohm resistor | 5400000
| MCRF-ST 3.6kW 20 OHM J | 3600 watt, 20 ohm resistor | 3600 watt, 20 ohm resistor | 6800000
| MCRF-ST 7.2kW 20 OHM J | 7200 watt, 20 ohm resistor | 7200 watt, 20 ohm resistor | 11200000
| MCRF-ST 3.2kW 16.9 OHM J | 3200 watt, 16.9 ohm resistor | 3200 watt, 16.9 ohm resistor | 6800000
| MCRF-ST 1.2kW 15 OHM J | 1200 watt, 15 ohm resistor | 1200 watt, 15 ohm resistor | 3900000
| MCRF-ST 5kW 12 OHM J | 5000 watt, 12 ohm resistor | 5000 watt, 12 ohm resistor | 9200000
| MCRF-ST 10kW 12 OHM J | 10000 watt, 12 ohm resistor | 10000 watt, 12 ohm resistor | 15700000
| MCRF-ST 4.8kW 11.4 OHM J | 4800 watt, 11.4 ohm resistor | 4800 watt, 11.4 ohm resistor | 9200000
| MCRF-ST 2.4kW 10 OHM J | 2400 watt, 10 ohm resistor | 2400 watt, 10 ohm resistor | 5400000
| MCRF-ST 4.8kW 10 OHM J | 4800 watt, 10 ohm resistor | 4800 watt, 10 ohm resistor | 9200000
| MCRF-ST 6.4kW 10 OHM J | 6400 watt, 10 ohm resistor | 6400 watt, 10 ohm resistor | 11000000
| MCRF-ST 12.8kW 10 OHM J | 12800 watt, 10 ohm resistor | 12800 watt, 10 ohm resistor | 20000000
| MCRF-ST 1.6kW 8.5 OHM J | 1600 watt, 8.5 ohm resistor | 1600 watt, 8.5 ohm resistor | 4500000
| MCRF-ST 6.4kW 8.4 OHM J | 6400 watt, 8.4 ohm resistor | 6400 watt, 8.4 ohm resistor | 11000000
| MCRF-ST 7.2kW 8.4 OHM J | 7200 watt, 8.4 ohm resistor | 7200 watt, 8.4 ohm resistor | 11200000
| MCRF-ST 14.4kW 8.4 OHM J | 14400 watt, 8.4 ohm resistor | 14400 watt, 8.4 ohm resistor | 20700000
| MCRF-ST 2.4kW 8 OHM J | 2400 watt, 8 ohm resistor | 2400 watt, 8 ohm resistor | 5400000
| MCRF-ST 4.8kW 8 OHM J | 4800 watt, 8 ohm resistor | 4800 watt, 8 ohm resistor | 9200000
| MCRF-ST 10kW 6 OHM J | 10000 watt, 6 ohm resistor | 10000 watt, 6 ohm resistor | 15800000
| MCRF-ST 20kW 6 OHM J | 20000 watt, 6 ohm resistor | 20000 watt, 6 ohm resistor | 29000000
| MCRF-ST 2.4kW 5.7 OHM J | 2400 watt, 5.7 ohm resistor | 2400 watt, 5.7 ohm resistor | 5400000
| MCRF-ST 3.6kW 5 OHM J | 3600 watt, 5 ohm resistor | 3600 watt, 5 ohm resistor | 6800000
| MCRF-ST 7.2kW 5 OHM J | 7200 watt, 5 ohm resistor | 7200 watt, 5 ohm resistor | 11200000
| MCRF-ST 13kW 5 OHM J | 13000 watt, 5 ohm resistor | 13000 watt, 5 ohm resistor | 20000000
| MCRF-ST 26kW 5 OHM J | 26000 watt, 5 ohm resistor | 26000 watt, 5 ohm resistor | 40600000
| MCRF-ST 3.2kW 4.2 OHM J | 3200 watt, 4.2 ohm resistor | 3200 watt, 4.2 ohm resistor | 6800000
| MCRF-ST 16kW 4 OHM J | 16000 watt, 4 ohm resistor | 16000 watt, 4 ohm resistor | 27000000
| MCRF-ST 32kW 4 OHM J | 32000 watt, 4 ohm resistor | 32000 watt, 4 ohm resistor | 48000000
| MCRF-ST 20kW 3.4 OHM J | 20000 watt, 3.4 ohm resistor | 20000 watt, 3.4 ohm resistor | 29000000
| MCRF-ST 40kW 3.4 OHM J | 40000 watt, 3.4 ohm resistor | 40000 watt, 3.4 ohm resistor | 56700000
| MCRF-ST 5kW 3 OHM J | 5000 watt, 3 ohm resistor | 5000 watt, 3 ohm resistor | 9200000
| MCRF-ST 10kW 3 OHM J | 10000 watt, 3 ohm resistor | 10000 watt, 3 ohm resistor | 15800000
| MCRF-ST 4.8kW 2.8 OHM J | 4800 watt, 2.8 ohm resistor | 4800 watt, 2.8 ohm resistor | 9200000
| MCRF-ST 24kW 2.8 OHM J | 24000 watt, 2.8 ohm resistor | 24000 watt, 2.8 ohm resistor | 38400000
| MCRF-ST 48kW 2.8 OHM J | 48000 watt, 2.8 ohm resistor | 48000 watt, 2.8 ohm resistor | 73200000
| MCRF-ST 6kW 2.4 OHM J | 6000 watt, 2.4 ohm resistor | 6000 watt, 2.4 ohm resistor | 10400000
| MCRF-ST 12kW 2.4 OHM J | 12000 watt, 2.4 ohm resistor | 12000 watt, 2.4 ohm resistor | 19200000
| MCRF-ST 26kW 2.4 OHM J | 26000 watt, 2.4 ohm resistor | 26000 watt, 2.4 ohm resistor | 40600000
| MCRF-ST 52kW 2.4 OHM J | 52000 watt, 2.4 ohm resistor | 52000 watt, 2.4 ohm resistor | 94000000
| MCRF-ST 7.5kW 2 OHM J | 7500 watt, 2 ohm resistor | 7500 watt, 2 ohm resistor | 12400000
| MCRF-ST 15kW 2 OHM J | 15000 watt, 2 ohm resistor | 15000 watt, 2 ohm resistor | 20800000
| MCRF-ST 30kW 2 OHM J | 30000 watt, 2 ohm resistor | 30000 watt, 2 ohm resistor | 44000000
| MCRF-ST 60kW 2 OHM J | 60000 watt, 2 ohm resistor | 60000 watt, 2 ohm resistor | 99600000
| MCRF-ST 10kW 1.5 OHM J | 10000 watt, 1.5 ohm resistor | 10000 watt, 1.5 ohm resistor | 15800000
| MCRF-ST 20kW 1.5 OHM J | 20000 watt, 1.5 ohm resistor | 20000 watt, 1.5 ohm resistor | 29000000
| MCRF-ST 13kW 1.2 OHM J | 13000 watt, 1.2 ohm resistor | 13000 watt, 1.2 ohm resistor | 20000000
| MCRF-ST 26kW 1.2 OHM J | 26000 watt, 1.2 ohm resistor | 26000 watt, 1.2 ohm resistor | 40600000
'- GHI CHÚ: Giá này chưa bao gồm VAT

## S100
BẢNG GIÁ BIẾN TẦN LS - HÀN QUỐC
(Áp dụng từ ngày 01-10-2026)
Tên hàng | KW | HP | In (A) |  | Mô tả | Đơn giá (VNĐ)
Loại 1 pha 200~240VAC (Protection degree IP20) |  |  | HD | ND | Semi-Dual rating, V/f, sensorless vector control, RS485 (LS Bus / Modbus RTU),Safety Torque off, Pulse train I/O/ Các ứng dụng cơ bản (bơm, quạt, băng tải, máy nén, máy cán...)
LSLV0004S100-1EONNS | 0.4/0.75kw | 1/2HP | 2.5A | - | 1 phase, 200~240VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, tích hợp bàn phím, điện trở thắng, control terminal I/O 5mm pitch | 8000000
LSLV0008S100-1EONNS | 0.75/1.5kw | 1HP | 5A | - |  | 8600000
LSLV0015S100-1EONNS | 1.5/2.2kw | 2HP | 8A | - |  | 9600000
LSLV0022S100-1EONNS | 2.2/3.7kw | 3HP | 11A | - |  | 10500000
Loại 3 Pha 200~240VAC (Protection degree IP20) |  |  | HD | ND | Semi-Dual rating, V/f, sensorless vector control, RS485 (LS Bus / Modbus RTU),Safety Torque off, Pulse train I/O/ Các ứng dụng cơ bản (bơm, quạt, băng tải…)
LSLV0004S100-2EONNS | 0.4/0.75kw | 1/2HP | 2.5A | - | 3 phase, 200~240VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, tích hợp bàn phím, điện trở thắng, control terminal I/O 5mm pitch | 6800000
LSLV0008S100-2EONNS | 0.75/1.5kw | 1HP | 5A | - |  | 7300000
LSLV0015S100-2EONNS | 1.5/2.2kw | 2HP | 8A | - |  | 8400000
LSLV0022S100-2EONNS | 2.2/3.7kw | 3HP | 11A | - |  | 9600000
LSLV0037S100-2EONNS | 3.7/4kw | 5HP | 16A | - |  | 11000000
LSLV0040S100-2EONNS | 4/5.5kw | 5.4HP | 17A | - |  | 11000000
LSLV0055S100-2EONNS | 5.5/7.5kw | 7.5HP | 24A | - |  | 15800000
LSLV0075S100-2EONNS | 7.5/11kw | 10HP | 32A | - |  | 17600000
LSLV0110S100-2EONNS | 11/15kw | 15HP | 46A | - |  | 28300000
LSLV0150S100-2EONNS | 15/18.5kw | 20HP | 60A | - |  | 32600000
Loại 3 Pha 380~480VAC (Protection degree IP20) |  |  | HD | ND | Semi-Dual rating, V/f, sensorless vector control, RS485 (LS Bus / Modbus RTU),Safety Torque off, Pulse train I/O/ Các ứng dụng cơ bản (bơm, quạt, băng tải…)
LSLV0004S100-4EONNS | 0.4/0.75kw | 1/2HP | 1.25A | - | 3 phase, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, tích hợp bàn phím, điện trở thắng, control terminal I/O 5mm pitch | 7300000
LSLV0008S100-4EONNS | 0.75/1.5kw | 1HP | 2.5A | - |  | 7700000
LSLV0015S100-4EONNS | 1.5/2.2kw | 2HP | 4A | - |  | 8400000
LSLV0022S100-4EONNS | 2.2/3.7kw | 3HP | 5.5A | - |  | 9500000
LSLV0037S100-4EONNS | 3.7/4kw | 5HP | 8A | - |  | 11400000
LSLV0040S100-4EONNS | 4/5.5kw | 5.4HP | 9A | - |  | 11300000
LSLV0055S100-4EOFNS | 5.5/7.5kw | 7.5HP | 12A | - | 3 phase, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, tích hợp bàn phím, điện trở thắng, EMC filter(C3), control terminal I/O 5mm pitch | 15700000
LSLV0075S100-4EOFNS | 7.5/11kw | 10HP | 16A | - |  | 17000000
LSLV0110S100-4EOFNS | 11/15kw | 15HP | 24A | - |  | 26800000
LSLV0150S100-4EOFNS | 15/18.5kw | 20HP | 30A | - |  | 29500000
LSLV0185S100-4EOFNS | 18.5/22kw | 25HP | 39A | - |  | 34500000
LSLV0220S100-4EOFNS | 22/30kw | 30HP | 45A | - |  | 39500000
LSLV0300S100-4CONDS | 30/37kw | 40HP | 61A | - | 3 phase, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, detachable LCD keypad, built-in DC reactor, control terminal I/O 5mm pitch | 61500000
LSLV0370S100-4CONDS | 37/45kw | 50HP | 75A | - |  | 70000000
LSLV0450S100-4CONDS | 45/55kw | 60HP | 91A | - |  | 79000000
LSLV0550S100-4CONDS | 55/75kw | 75HP | 110A | - |  | 92000000
LSLV0750S100-4CONDS | 75/90kw | 100HP | 152A | - |  | 99000000
Loại 3 Pha 200~230VAC (Protection degree IP66 (NEMA4X) |  |  | HD | ND | Semi-Dual rating, V/f, sensorless vector control, RS485 (LS Bus / Modbus RTU),Safety Torque off, Pulse train I/O/ Các ứng dụng cơ bản (bơm, quạt, băng tải…)
LSLV0004S100-2EXNNS | 0.4/0.75kw | 1/2HP | 2.5A | - | 3 phase, 200~240VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, tích hợp bàn phím, điện trở thắng, control terminal I/O 5mm pitch | 14000000
LSLV0008S100-2EXNNS | 0.75/1.5kw | 1HP | 5A | - |  | 14400000
LSLV0015S100-2EXNNS | 1.5/2.2kw | 2HP | 8A | - |  | 17000000
LSLV0022S100-2EXNNS | 2.2/3.7kw | 3HP | 11A | - |  | 19500000
LSLV0037S100-2EXNNS | 3.7/4kw | 5HP | 16A | - |  | 20000000
LSLV0040S100-2EXNNS | 4/5.5kw | 5.4HP | 17A | - |  | 20000000
LSLV0055S100-2EXNNS | 5.5/7.5kw | 7.5HP | 24A | - |  | 25000000
LSLV0075S100-2EXNNS | 7.5/11kw | 10HP | 32A | - |  | 28300000
LSLV0110S100-2EXNNS | 11/15kw | 15HP | 46A | - |  | 42000000
LSLV0150S100-2EXNNS | 15/18.5kw | 20HP | 60A | - |  | 49000000
Loại 3 Phase 380~480VAC (Protection degree IP66 (NEMA4X) |  |  | HD | ND | Semi-Dual rating, V/f, sensorless vector control, RS485 (LS Bus / Modbus RTU),Safety Torque off, Pulse train I/O/ Các ứng dụng cơ bản (bơm, quạt, băng tải…)
LSLV0004S100-4EXNNS | 0.4/0.75kw | 1/2HP | 1.25A | - | 3 phase, 380~480VAC(+10%,-15%), 50~60Hz(±5%), 0.1~400Hz, tích hợp bàn phím, điện trở thắng, control terminal I/O 5mm pitch | 14500000
LSLV0008S100-4EXNNS | 0.75/1.5kw | 1HP | 2.5A | - |  | 15000000
LSLV0015S100-4EXNNS | 1.5/2.2kw | 2HP | 4A | - |  | 17600000
LSLV0022S100-4EXNNS | 2.2/3.7kw | 3HP | 5.5A | - |  | 19500000
LSLV0037S100-4EXNNS | 3.7/4kw | 5HP | 8A | - |  | 21000000
LSLV0040S100-4EXNNS | 4/5.5kw | 5.4HP | 9A | - |  | 21000000
LSLV0055S100-4EXNNS | 5.5/7.5kw | 7.5HP | 12A | - |  | 23000000
LSLV0075S100-4EXNNS | 7.5/11kw | 10HP | 16A | - |  | 25700000
LSLV0110S100-4EXNNS | 11/15kw | 15HP | 24A | - |  | 36000000
LSLV0150S100-4EXNNS | 15/18.5kw | 20HP | 30A | - |  | 39500000
LSLV0185S100-4EXNNS | 18.5/22kw | 25HP | 39A | - |  | 43300000
LSLV0220S100-4EXNNS | 22/30kw | 30HP | 45A | - |  | 47600000
Phụ kiện dùng cho LSLV S100:
CANOpen(LSLV-S100),CCAN-S100 | [5 empty] | Call
Profibus-DP(LSLV-S100),CPDP-S100 | [5 empty] | Call
Ethernet(LSLV-S100),CENT-S100 | [5 empty] | Call
- GHI CHÚ: | **HD(Heavy Duty) Overload 150% 1min.
**ND(Normal Duty): Overload 110% or 120% 1min
** Giá này chưa bao gồm VAT