## PLC
BẢNG GIÁ PLC LS - HÀN QUỐC
(Áp dụng từ ngày 15-04-2026)
| Tên hàng |  | Diễn Giải | Đơn giá (VNĐ)
XGB | XBM | XBM-DN16S | DC24 power supply, 8 DC24V input, 8 TR(NPN) output, Built-in Positioning Function | 5600000
|  | XBM-DR16S | DC24 power supply, 8 DC24V input, 8 Relay output | 6350000
|  | XBM-DN32S | DC24 power supply, 16 DC24V input, 16 TR(NPN) output, Built-in Positioning Function | 6700000
|  | XBM-DN32H | DC24 power supply, 16 DC24V input, 16 TR(NPN) output, Built-in Positioning Function 2axis, Built-in Ethernet | 9200000
|  | XBM-DN32H2 | DC24 power supply, 16 DC24V input, 16 TR(NPN) output, Built-in Positioning Function 2axis, Built-in Ethernet | 10100000
|  | XBM-DN32HP | DC24 power supply, 16 DC24V input, 16 TR(NPN) output, Built-in Positioning Function 6axis, Built-in Ethernet | 10200000
|  | XBM-DP32H2 | DC24 power supply, 16 DC24V input, 16 TR(PNP) output, Built-in Positioning Function 2axis, Built-in Ethernet | 10800000
|  | XBM-DP32HP | DC24 power supply, 16 DC24V input, 16 TR(PNP) output, Built-in Positioning Function 6axis, Built-in Ethernet | 11100000
| XEM | XEM-DN32H2 | DC24 power supply, 16 DC24V input, 16 TR(NPN) output, Built-in Positioning Function 2axis, Built-in Ethernet | 10100000
|  | XEM-DN32HP | DC24 power supply, 16 DC24V input, 16 TR(NPN) output, Built-in Positioning Function 6axis, Built-in Ethernet | 10200000
|  | XEM-DP32H2 | DC24 power supply, 16 DC24V input, 16 TR(PNP) output, Built-in Positioning Function 2axis, Built-in Ethernet | 10800000
|  | XEM-DP32HP | DC24 power supply, 16 DC24V input, 16 TR(PNP) output, Built-in Positioning Function 6axis, Built-in Ethernet | 11100000
| XBC-H | XBC-DR32H | AC110/240V power supply, 16 DC24 input, 16 Relay output, Built-in Positioning Function | 9400000
|  | XBC-DN32H | AC110/240V power supply, 16 DC24 input, 16 TR(NPN) output, Built-in Positioning Function | 9400000
|  | XBC-DR64H | AC110/240V power supply, 32 DC24 input, 32 Relay output, Built-in Positioning Function | 12800000
|  | XBC-DN64H | AC110/240V power supply, 32 DC24 input, 32 TR(NPN) output, Built-in Positioning Function | 12800000
|  | XBC-DR32H/DC | DC24V power supply, 16 DC24 input, 16 Realy output, Built-in Positioning Function | 9900000
|  | XBC-DN32H/DC | DC24V power supply, 16 DC24 input, 16 TR(NPN) output, Built-in Positioning Function | 9400000
|  | XBC-DR64H/DC | DC24V power supply, 32 DC24 input, 32 Realy output, Built-in Positioning Function | 12800000
|  | XBC-DN64H/DC | DC24V power supply, 32 DC24 input, 32 TR(NPN) output, Built-in Positioning Function | 12800000
| XEC-H | XEC-DR32H | AC110/240V power supply, 16 DC24 input, 16 Relay output, Built-in Positioning Function | 9500000
|  | XEC-DN32H | AC110/240V power supply, 16 DC24 input, 16 TR(NPN) output, Built-in Positioning Function | 9500000
|  | XEC-DR64H | AC110/240V power supply, 32 DC24 input, 32 Relay output, Built-in Positioning Function | 12800000
|  | XEC-DN64H | AC110/240V power supply, 32 DC24 input, 32 TR(NPN) output, Built-in Positioning Function | 12800000
|  | XEC-DP32H | AC110/240V power supply, 16 DC24 input, 16 TR(PNP) output, Built-in Positioning Function | 10300000
|  | XEC-DP64H | AC110/240V power supply, 32 DC24 input, 32 TR(PNP) output, Built-in Positioning Function | 14500000
|  | XEC-DR32H/D1 | DC12~24V power supply, 16 DC24 input, 16 Relay | 10800000
|  | XEC-DR64H/D1 | DC12~24V power supply, 32 DC24 input, 32 Relay | 13500000
| XBC-E | XBC-DR10E | AC110/240V power supply, 6 DC24 input, 4 Relay output | 4100000
|  | XBC-DN10E | AC110/240V power supply, 6 DC24 input, 4 Tr. (NPN) output | 4100000
|  | XBC-DP10E | AC110/240V power supply, 6 DC24 input, 4 Tr. (PNP) output | 4650000
|  | XBC-DR14E | AC110/240V power supply, 8 DC24 input, 6 Relay output | 4400000
|  | XBC-DN14E | AC110/240V power supply, 8 DC24 input, 6 Tr. (NPN) output | 4550000
|  | XBC-DP14E | AC110/240V power supply, 8 DC24 input, 6 Tr. (PNP) output | 4550000
|  | XBC-DR20E | AC110/240V power supply, 12 DC24 input, 8 Relay output | 5550000
|  | XBC-DN20E | AC110/240V power supply, 12 DC24 input, 8 Tr. (NPN) output | 5550000
|  | XBC-DP20E | AC110/240V power supply, 12 DC24 input, 8 Tr. (PNP) output | 5550000
|  | XBC-DR30E | AC110/240V power supply, 18 DC24 input, 12 Relay output | 6200000
|  | XBC-DN30E | AC110/240V power supply, 18 DC24 input, 12 Tr. (NPN) output | 6200000
|  | XBC-DP30E | AC110/240V power supply, 18 DC24 input, 12 Tr. (PNP) output | 6350000
| XEC-E | XEC-DR10E | AC110/240V power supply, 6 DC24 input, 4 Relay output | 4150000
|  | XEC-DN10E | AC110/240V power supply, 6 DC24 input, 4 Tr. (NPN) output | 4250000
|  | XEC-DP10E | AC110/240V power supply, 6 DC24 input, 4 Tr. (PNP) output | 4250000
|  | XEC-DR14E | AC110/240V power supply, 8 DC24 input, 6 Relay output | 4400000
|  | XEC-DN14E | AC110/240V power supply, 8 DC24 input, 6 Tr. (NPN) output | 4500000
|  | XEC-DP14E | AC110/240V power supply, 8 DC24 input, 6 Tr. (PNP) output | 4500000
|  | XEC-DR20E | AC110/240V power supply, 12 DC24 input, 8 Relay output | 5500000
|  | XEC-DN20E | AC110/240V power supply, 12 DC24 input, 8 Tr. (NPN) output | 5500000
|  | XEC-DP20E | AC110/240V power supply, 12 DC24 input, 8 Tr. (PNP) output | 5500000
|  | XEC-DR30E | AC110/240V power supply, 18 DC24 input, 12 Relay output | 6200000
|  | XEC-DN30E | AC110/240V power supply, 18 DC24 input, 12 Tr. (NPN) output | 6200000
|  | XEC-DP30E | AC110/240V power supply, 18 DC24 input, 12 Tr. (PNP) output | 6200000
| XBC-SU | XBC-DN20SU | AC110/240V power supply, 12 DC24 input, 8 Tr.output (NPN) | 7400000
|  | XBC-DR20SU | AC110/240V power supply, 12 DC24 input, 8 Relay output | 7600000
|  | XBC-DP20SU | AC110/240V power supply, 12 DC24 input, 8 Tr.output (PNP) | 7550000
|  | XBC-DN30SU | AC110/240V power supply, 18 DC24 input, 12Tr.output(NPN) | 7800000
|  | XBC-DR30SU | AC110/240V power supply, 18 DC24 input, 12 Relay output | 7700000
|  | XBC-DP30SU | AC110/240V power supply, 18 DC24 input, 12Tr.output(PNP) | 8000000
|  | XBC-DN40SU | AC110/240V power supply, 24 DC24 input, 16Tr.output(NPN) | 9450000
|  | XBC-DR40SU | AC110/240V power supply, 24 DC24 input, 16 Relay output | 9450000
|  | XBC-DP40SU | AC110/240V power supply, 24 DC24 input, 16Tr.output(PNP) | 9700000
|  | XBC-DN60SU | AC110/240V power supply, 32 DC24 input, 28Tr.output(NPN) | 11700000
|  | XBC-DR60SU | AC110/240V power supply, 32 DC24 input, 28 Relay output | 11700000
|  | XBC-DP60SU | AC110/240V power supply, 32 DC24 input, 28Tr.output(PNP) | 12000000
| XEC-SU | XEC-DN20SU | AC110/240V power supply, 12 DC24 input, 8 Tr.output(NPN) | 7400000
|  | XEC-DR20SU | AC110/240V power supply, 12 DC24 input, 8 Relay output | 7650000
|  | XEC-DP20SU | AC110/240V power supply, 12 DC24 input, 8 Tr.output(PNP) | 7600000
|  | XEC-DN30SU | AC110/240V power supply, 18 DC24 input, 12Tr.output(NPN) | 7800000
|  | XEC-DR30SU | AC110/240V power supply, 18 DC24 input, 12 Relay output | 7700000
|  | XEC-DP30SU | AC110/240V power supply, 18 DC24 input, 12Tr.output(PNP) | 8000000
|  | XEC-DN40SU | AC110/240V power supply, 24 DC24 input, 16Tr.output(NPN) | 9450000
|  | XEC-DR40SU | AC110/240V power supply, 24 DC24 input, 16 Relay output | 9450000
|  | XEC-DP40SU | AC110/240V power supply, 24 DC24 input, 16Tr.output(PNP) | 9450000
|  | XEC-DN60SU | AC110/240V power supply, 32 DC24 input, 28 Tr.output(NPN) | 11700000
|  | XEC-DR60SU | AC110/240V power supply, 32 DC24 input, 28 Relay output | 11700000
|  | XEC-DP60SU | AC110/240V power supply, 32 DC24 input, 28Tr.output(PNP) | 11700000
| XBC-U (AC) | XBC-DN32U | AC110/240V power supply, 16 DC24 input, 16 TR(NPN : Sink) output | 14800000
|  | XBC-DN32UA | AC110/240V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Analog | 22700000
|  | XBC-DN32UP | AC110/240V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Positioning Function | 23800000
|  | XBC-DP32U | AC110/240V power supply, 16 DC24 input, 16 TR(PNP : Source) output | 14800000
|  | XBC-DP32UA | AC110/240V power supply, 16 DC24 input, 16 TR((PNP : Source) output, Built-in Analog | 22700000
|  | XBC-DP32UP | AC110/240V power supply, 16 DC24 input, 16 TR((PNP : Source) output, Built-in Positioning Function | 23800000
|  | XBC-DR28U | AC110/240V power supply, 16 DC24 input, 12 Relay output output | 14800000
|  | XBC-DR28UA | AC110/240V power supply, 16 DC24 input, 12 Relay output, Built-in Analog | 22700000
|  | XBC-DR28UP | AC110/240V power supply, 16 DC24 input, 12 Relay output, Built-in Positioning Function | 23800000
| XBC-U (DC) | XBC-DN32U/DC | DC24V power supply, 16 DC24 input, 16 TR(NPN : Sink) output | 14800000
|  | XBC-DN32UA/DC | DC24V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Analog | 22700000
|  | XBC-DN32UP/DC | DC24V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Positioning Function | 23800000
|  | XBC-DP32U/DC | DC24V power supply, 16 DC24 input, 16 TR(PNP : Source) output | 14800000
|  | XBC-DP32UA/DC | DC24V power supply, 16 DC24 input, 16 TR((PNP : Source) output, Built-in Analog | 22700000
|  | XBC-DP32UP/DC | DC24V power supply, 16 DC24 input, 16 TR((PNP : Source) output, Built-in Positioning Function | 23800000
|  | XBC-DR28U/DC | DC24V power supply, 16 DC24 input, 12 Relay output output | 14800000
|  | XBC-DR28UA/DC | DC24V power supply, 16 DC24 input, 12 Relay output, Built-in Analog | 22700000
|  | XBC-DR28UP/DC | DC24V power supply, 16 DC24 input, 12 Relay output, Built-in Positioning Function | 23800000
| XEC-U (AC) | XEC-DN32U | AC110/240V power supply, 16 DC24 input, 16 TR(NPN : Sink) output | 14800000
|  | XEC-DN32UA | AC110/240V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Analog | 22700000
|  | XEC-DN32UP | AC110/240V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Positioning Function | 23800000
|  | XEC-DP32U | AC110/240V power supply, 16 DC24 input, 16 TR(PNP : Source) output | 14800000
|  | XEC-DP32UA | AC110/240V power supply, 16 DC24 input, 16 TR(PNP : Source) output, Built-in Analog | 22700000
|  | XEC-DP32UP | AC110/240V power supply, 16 DC24 input, 16 TR(PNP : Source) output, Built-in Positioning Function | 23800000
|  | XEC-DR28U | AC110/240V power supply, 16 DC24 input, 12 Relay output output | 14800000
|  | XEC-DR28UA | AC110/240V power supply, 16 DC24 input, 12 Relay output, Built-in Analog | 22700000
|  | XEC-DR28UP | AC110/240V power supply, 16 DC24 input, 12 Relay output, Built-in Positioning Function | 23800000
| XEC-U (DC) | XEC-DN32U/DC | DC24V power supply, 16 DC24 input, 16 TR(NPN : Sink) output | 14800000
|  | XEC-DN32UA/DC | DC24V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Analog | 22700000
|  | XEC-DN32UP/DC | DC24V power supply, 16 DC24 input, 16 TR(NPN : Sink) output, Built-in Positioning Function | 23800000
|  | XEC-DP32U/DC | DC24V power supply, 16 DC24 input, 16 TR(PNP : Source) output | 14800000
|  | XEC-DP32UA/DC | DC24V power supply, 16 DC24 input, 16 TR(PNP : Source) output, Built-in Analog | 22700000
|  | XEC-DP32UP/DC | DC24V power supply, 16 DC24 input, 16 TR(PNP : Source) output, Built-in Positioning Function | 23800000
|  | XEC-DR28U/DC | DC24V power supply, 16 DC24 input, 12 Relay output output | 14800000
|  | XEC-DR28UA/DC | DC24V power supply, 16 DC24 input, 12 Relay output, Built-in Analog | 22700000
|  | XEC-DR28UP/DC | DC24V power supply, 16 DC24 input, 12 Relay output, Built-in Positioning Function | 23800000
| Expension I/O | XBE-DC08A | DC24V input 8 points | 2300000
|  | XBE-DC16A | DC24V input 16 points | 2500000
|  | XBE-DC16B | DC12V/DC24V input 16 points | 2550000
|  | XBE-DC32A | DC24V input 32 points | 3800000
|  | XBE-AC08A | AC 110/220V Input 8 points | 4450000
|  | XBE-RY08A | Relay output 8 points | 2500000
|  | XBE-RY08B | Relay output 4 points, Seperated common | 3100000
|  | XBE-RY16A | Relay output 16 points | 3100000
|  | XBE-DR16A | DC24V input 8 points / Relay output 8 points | 3250000
|  | XBE-TN08A | Transistor(NPN : Sink) output 8 points | 2400000
|  | XBE-TN16A | Transistor(NPN : Sink) output 16 points | 2850000
|  | XBE-TN32A | Transistor(NPN : Sink) output 32 points | 3800000
|  | XBE-TP08A | Transistor(PNP : Source) output 8 points | 2400000
|  | XBE-TP16A | Transistor(PNP : Source) output 16 points | 2850000
|  | XBE-TP32A | Transistor(PNP : Source) output 32 points | 3800000
|  | XBE-DN32A | DC24V input 16 points / Tr. output 16 points | 4800000
| Communication | XBL-C41A | Cnet (RS-422/485) I/F | 5100000
|  | XBL-C21A | Cnet (RS-232C) I/F [modem communication] | 5100000
|  | XBL-EIMT | RAPIEnet - LS Protocol based Ethernet | 8200000
|  | XBL-EIMF | RAPIEnet - Fiber optic | 13300000
|  | XBL-EIMH | RAPIEnet - Hybrid | 11400000
|  | XBL-EMTA | Ethernet I/F | 8300000
|  | XBL-CMEA | CANOpen Master | 6350000
|  | XBL-CSEA | CANOpen Slave | 6350000
|  | XBL-PMEC | Profibus Master | 12700000
|  | XBL-PSEA | Profibus Slave | 11700000
|  | XBL-RMEA | Rnet master | 4800000
|  | XBL-DSEA | Dnet slave | 10700000
|  | XBL-EIPT | Ethernet IP | 10800000
| Special | XBF-AD04A | 4 Channel Analog input (Current/Volltage) (12BIT) | 5800000
|  | XBF-AD08A | 8 Channel Analog input (Current/Volltage) (12BIT) | 8700000
|  | XBF-DC04A | 4 Channel Analog output (Current) (12BIT) | 5800000
|  | XBF-DV04A | 4 Channel Analog output (Voltage) (12BIT) | 5800000
|  | XBF-AH04A | 2 Channel Analog input, 2 Channel Analog output | 7100000
|  | XBF-RD04A | 4 Channel RTD (Resistance Temperature Detect) input | 6400000
|  | XBF-RD01A | 1 Channel RTD (Resistance Temperature Detect) input | 5650000
|  | XBF-TC04S | 4 Channel Thermocouple input | 8950000
|  | XBF-PD02A | Pulse (OC) output 2 axis | 6500000
|  | XBF-PN08B | EtherCAT standard 8 axis | 12700000
|  | XBF-PN04B | EtherCAT standard 4 axis | 12100000
|  | XBF-HO02A | HSC Open collector | 5850000
|  | XBF-HD02A | HSC Line drive | 5850000
|  | XBF-AD04C | 4 Channel Analog input (Current/Volltage) (14BIT) | 9300000
|  | XBF-DC04C | 4 Channel Analog output (Current) (14BIT) | 9300000
|  | XBF-DV04C | 4 Channel Analog output (Voltage) (14BIT) | 9300000
|  | XBF-LD02S | Loaecell module, 2 channels | 9900000
|  | XBF-TC04TT | Temperature controller. Thermocouple input | 8750000
|  | XBF-TC04RT | Temperature controller. RTD input | 8750000
| Option board | XBO-M2MB | Program read/write, Program back up | 3100000
|  | XBO-DC04A | DC input (High speed counter in XBC-xxxS) | 2200000
|  | XBO-TN04A | TR output (Pulse output in XBC-xxxS) | 2100000
|  | XBO-AD02A | Current/Voltage input 2Ch | 3900000
|  | XBO-DA02A | Current/Voltage output 2Ch | 3900000
|  | XBO-AH02A | Current/Voltage input 1Ch / output 1Ch | 4150000
|  | XBO-RD01A | RTD 1Ch | 4150000
|  | XBO-TC02A | Thermo couple 2Ch | 4400000
|  | XBO-RTCA | Real Time Clock Pack | 1900000
XGK & XGI | XGK CPU | XGK-CPUE | CPU Module, User Program Memory 16 Ksteps, 84ns/step, Max. 1,536 I/O, Built-in RS-232C, USB | 6700000
|  | XGK-CPUS | CPU Module, User Program Memory 32 Ksteps, 84ns/step, Max. 3,072 I/O, Built-in RS-232C, USB | 15700000
|  | XGK-CPUA | CPU Module, User Program Memory 32 Ksteps, 28ns/step, Max. 3,072 I/O, Built-in RS-232C, USB | 23600000
|  | XGK-CPUH | CPU Module, User Program Memory 64 Ksteps, 28ns/step, Max. 6,144 I/O, Built-in RS-232C, USB | 28800000
|  | XGK-CPUU | CPU Module, User Program Memory 128 Ksteps, 28ns/step, Max. 6,144 I/O, Built-in RS-232C, USB | 42800000
|  | XGK-CPUSN | CPU Module, User Program Memory 64 Ksteps, 8.5ns/step, Max. 3,072 I/O, Built-in Ethernet, USB | 16500000
|  | XGK-CPUHN | CPU Module, User Program Memory 128 Ksteps, 8.5ns/step, Max. 6,144 I/O, Built-in Ethernet, USB | 30200000
|  | XGK-CPUUN | CPU Module, User Program Memory 256 Ksteps, 8.5ns/step, Max. 6,144 I/O, Built-in Ethernet, USB | 44900000
| XGI CPU | XGI-CPUE | CPU Module, User Program Memory 64 Kbytes, 84ns/step, Max. 1,536 I/O, Built-in RS-232C, USB | 7200000
|  | XGI-CPUS | CPU Module, User Program Memory 128 Kbytes, 28ns/step, Max. 3,072 I/O, Built-in RS-232C, USB | 15700000
|  | XGI-CPUH | CPU Module, User Program Memory 512 Kbytes, 28ns/step, Max. 6,144 I/O, Built-in RS-232C, USB | 28800000
|  | XGI-CPUU | CPU Module, User Program Memory 1 Mbytes, 28ns/step, Max. 6,144 I/O, Built-in RS-232C, USB | 42800000
|  | XGI-CPUUN | CPU Module, User Program Memory 1 Mbytes, 28ns/step, Max. 6,144 I/O, Built-in Ethernet, USB | 44900000
| Power | XGP-ACF1 | Power Supply Module, AC Free Voltage / DC5V 3A, DC24V 0.6A | 3500000
|  | XGP-ACF2 | Power Supply Module, AC Free Voltage / DC5V 6A | 3500000
|  | XGP-AC23 | Power Supply Module, AC 220V, DC5V 8A | 3800000
|  | XGP-DC42 | Power Supply Module, DC24V, DC5V 6A | 3950000
| Main Base | XGB-M04A | Base board (Main), 4 slots for I/O Module | 4600000
|  | XGB-M06A | Base board (Main), 6 slots for I/O Module | 5150000
|  | XGB-M08A | Base board (Main), 8 slots for I/O Module | 5900000
|  | XGB-M12A | Base board (Main), 12 slots for I/O Module | 7200000
| Extansion Base | XGB-E04A | Base board (Ext.), 4 slots for I/O Module | 5300000
|  | XGB-E06A | Base board (Ext.), 6 slots for I/O Module | 5400000
|  | XGB-E08A | Base board (Ext.), 8 slots for I/O Module | 6700000
|  | XGB-E12A | Base board (Ext.), 12 slots for I/O Module | 8000000
| Digital Input | XGI-A12A | AC 110V Input 16 points | 3600000
|  | XGI-A21A | AC 220V Input 8 points | 3600000
|  | XGI-D21A | DC 24V Input 8 points (Current Source Type) | 2200000
|  | XGI-D22A | DC 24V Input 16 points (Current Sink/Source Type) | 2600000
|  | XGI-D22B | DC 24V Input 16 points (Current Source Type) | 2600000
|  | XGI-D24A | DC 24V Input 32 points (Current Sink/Source Type) | 4100000
|  | XGI-D24B | DC 24V Input 32 points (Current Source Type) | 4100000
|  | XGI-D28A | DC 24V Input 64 points (Current Sink/Source Type) | 6000000
|  | XGI-D28B | DC 24V Input 64 points (Current Source Type) | 6000000
| Digital Output | XGQ-RY1A | Relay Output 8 points (AC 240V, DC24V 2A) | 3050000
|  | XGQ-RY2A | Relay Output 16 points (AC 240V, DC24V 2A) | 3500000
|  | XGQ-RY2B | Relay Output 16 points (AC 240V, DC24V 2A, Varistor, CR absorber) | 4200000
|  | XGQ-SS2A | SSR(Current Sink Type) Output 16 points(AC 100~240V 1A) | 5450000
|  | XGQ-TR2A | Tr.(NPN Type) Output 16 points(DC12/24V 0.5A) | 2600000
|  | XGQ-TR2B | Tr.(PNP Type) Output 16 points(DC12/24V 0.5A) | 2730000
|  | XGQ-TR4A | Tr.(NPN Type) Output 32 points(DC12/24V 0.1A) | 4100000
|  | XGQ-TR4B | Tr.(PNP Type) Output 32 points(DC12/24V 0.1A) | 4100000
|  | XGQ-TR8A | Tr.(NPN Type) Output 64 points(DC12/24V 0.1A) | 6000000
|  | XGQ-TR8B | Tr.(PNP Type) Output 64 points(DC12/24V 0.1A) | 6000000
| Hybrid Digital I/O | XGH-DT4A | DC 24V input 16 points(current source / sink input), Tr.(NPN Type) Output, 16 points (DC 12/24V 0.1A) | 4100000
| Analog Input | XGF-AV8A | Voltage input, 8 channels (14 BIT) | 13700000
|  | XGF-AC8A | Current input, 8 channels (14 BIT) | 13700000
|  | XGF-AD8A | Voltage/Current input, 8 channels (14 BIT) | 15100000
|  | XGF-AD4S | Voltage/Current input, 4 channels, Isolation type (16 BIT) | 16200000
|  | XGF-AD16A | Voltage/Current input, 16 channels (14 BIT) | 20600000
| Analog Output | XGF-DV4A | Voltage output, 4 channels (14 BIT) | 13800000
|  | XGF-DC4A | Current output, 4 channels (14 BIT) | 13800000
|  | XGF-DV8A | Voltage output, 8 channels (14 BIT) | 15800000
|  | XGF-DC8A | Current output, 8 channels (14 BIT) | 15800000
|  | XGF-DV4S | Voltage output, 4 channels, Isolation type (14 BIT) | 17500000
|  | XGF-DC4S | Current output, 4 channels,Isolation type (14 BIT) | 17500000
| Hybrid Analog I/O | XGF-AH6A | Current input 4 channels & Current 2 output channels | 18200000
| Hybrid Analog I/O | XGF-AW4S | 2 Wire, Voltage/Current input, 4 channels, Isolation type (16 BIT) | 16100000
| HSC | XGF-HO2A | Pulse (OC) input, 2 channels | 8100000
|  | XGF-HD2A | Pulse (LD) input, 2 channels | 8100000
|  | XGF-HO8A | Pulse (OC) input, 8 channels | 16200000
| Position | XGF-PO1H | Pulse (OC) output 1 axis (New position model with XG-PM S/W) | 9700000
|  | XGF-PD1H | Pulse (LD) output 1 axis (New position model with XG-PM S/W) | 10000000
|  | XGF-PO2H | Pulse (OC) output 2 axis (New position model with XG-PM S/W) | 13400000
|  | XGF-PD2H | Pulse (LD) output 2 axis (New position model with XG-PM S/W) | 13400000
|  | XGF-PO3H | Pulse (OC) output 3 axis (New position model with XG-PM S/W) | 17800000
|  | XGF-PD3H | Pulse (LD) output 3 axis (New position model with XG-PM S/W) | 17800000
|  | XGF-PO4H | Pulse (LD) output 4 axis (New position model with XG-PM S/W) | 21200000
|  | XGF-PD4H | Pulse (LD) output 4 axis (New position model with XG-PM S/W) | 21200000
|  | XGF-PN4B | EtherCAT standard 4 axis | 16000000
|  | XGF-PN8B | EtherCAT standard 8 axis | 19700000
|  | XGF-M32E | EtherCAT motion controller 32 axis | 35100000
| Temp. | XGF-TC4S | Temperature (TC) Input, 4 channels, Isolation type | 14500000
|  | XGF-RD4S | Temperature (RTD) Input, 4 channels, Isolation type | 15700000
|  | XGF-RD4A | Temperature (RTD) Input, 4 channels | 12200000
|  | XGF-RD8A | Temperature (RTD) Input, 8 channels | 16000000
| Temp. Control | XGF-TC4UD | Temperature Controller, 4 loops, Universal, Insolation type | 34900000
|  | XGF-TC4RT | Temperature Controller, 4 loops, RTD, Insolation type | 16200000
| Cnet | XGL-CH2B | Computer Communication RS-232C/RS-422 (Each 1ch) | 7100000
|  | XGL-C22B | Computer Communication RS-232C, 2ch | 7100000
|  | XGL-C42B | Computer Communication RS-422, 2ch | 7100000
| Rnet | XGL-RMEB | R-net Master, 1Mbps, TP | 5600000
| Fnet | XGL-FMEA | F-net Master | 7700000
| Dnet | XGL-DMEB | Devicenet, Master, 500Kbps, ODVA standard | 18900000
| Pnet | XGL-PMEB | Profibus-DP Master, 12Mbps, OP standard (Configuration tool : sycon); not including connector | 19200000
|  | XGL-PSRA | Profibus remote module | 12400000
|  | XGL-PSEA | Profibus slave module | 11300000
| Ethernet/ RAPIEnet+ | XGL-EFMTB | Open FEnet Electric, Master, 100 /10Mbps, RJ-45 | 15800000
|  | XGL-EFMFB | Open FEnet Optical, Master, 100/10Mbps, SC type | 17900000
|  | XGL-EFMHB | Open FEnet Electric/Optical, Master, 100/10Mbps, RJ-45/SC type | 12000000
| Ethernet Hub | XGL-EH5T | Ethernet Hub 5 Port UTP | 3950000
| Ethernet IP | XGL-EIPT | EtherNet/IP I/F module | 16000000
| BACnet | XGL-BIPT | BACnet module | 12000000
| RAPIEnet+ Ext. Drive | XGL-DBDT | Extension Drive Module, Connector for extension base connection(electrical-electrical), Built-in USB | 10800000
|  | XGL-DBDF | Extension Drive Module, Connector for extension base connection(Optical-optical), Built-in USB | 14000000
|  | XGL-DBDH | Extension Drive Module, Connector for extension base connection(optical-electrical), Built-in USB | 12500000
|  | XOL-ES4T | Multiport RAPIEnet Switch (External, Electric) | 14700000
|  | XOL-ES4H | Multiport RAPIEnet Switch (External, Optical) | 17500000
| Ext. Cable | XGC-E041 | Expansion Cable Length:0.4m | 3000000
|  | XGC-E061 | Expansion Cable Length:0.6m | 3400000
|  | XGC-E121 | Expansion Cable Length:1.2m | 4250000
|  | XGC-E301 | Expansion Cable Length:3.0m | 6800000
|  | XGC-E501 | Expansion Cable Length:5.0m | 9800000
|  | XGC-E102 | Expansion Cable Length:10m | 6000000
|  | XGC-E152 | Expansion Cable Length:15m | 7600000
| SOE Recorder | XGF-SOEA | Sequence Of Events Recorder (per 1ms) | 19400000
| Data log | XGF-DL16A | Data log module | 11500000
| HART | XGF-AC4H | HART Interface Input module | 12700000
|  | XGF-DC4H | HART Interface Output module | 17400000
| Ext. End | XGT-TERA | Extension base end connector | 1530000
| Dummy | XGT-DMMA | Dummy Module | 200000
XGR | XGR CPU | XGR-CPUH/F | CPU Module, User Program Memory 1Mbyte, Max. 131,072 I/O, Built-in RS-233C, USB, optical/optical connector supported | 54400000
|  | XGR-CPUH/T | CPU Module, User Program Memory 1Mbyte, Max. 131,072 I/O, Built-in RS-232C, USB, electrical/electrical connector supported | 48200000
|  | XGR-CPUH/S | Single mode CPU | 57700000
| Power | XGR-AC12 | Power Supply Module, AC 110V, DC5V 5.5A | 5450000
|  | XGR-AC22 | Power Supply Module, AC 220V, DC5V 5.5A | 5450000
|  | XGR-AC23 | Power Supply Module, AC 220V, DC5V 8.5A | 7000000
|  | XGR-AC13 | Power Supply Module, AC 110V, DC5V 8.5A | 7000000
|  | XGR-DC42 | Power Supply Module, DC 24V, DC5V 5.5A | 7000000
| Ext. Drive | XGR-DBSH | Extension Drive Module, Connector for extension base connection(optical-electrical), Built-in USB | 17200000
|  | XGR-DBSF | Extension Drive Module, Connector for extension base connection(Optical-optical), Built-in USB | 17200000
|  | XGR-DBST | Extension Drive Module, Connector for extension base connection(electrical-electrical), Built-in USB | 15700000
|  | XGR-DBSFS | Single mode Extension drive (Optical-optical) | 21900000
|  | XGR-DBSHS | Single mode Extension drive (electrical-electrical) | 21900000
| Ext. Drive for dual ring | XGR-DBDH | Extension Drive Module, Connector for extension base connection(optical-electrical), Built-in USB | 21900000
|  | XGR-DBDF | Extension Drive Module, Connector for extension base connection(Optical-optical), Built-in USB | 21900000
|  | XGR-DBDT | Extension Drive Module, Connector for extension base connection(electrical-electrical), Built-in USB | 21700000
| Base | XGR-M06P | Base board (Main), 6 slots for I/O Module | 11300000
|  | XGR-M02P | Base board (Main), 2 slots for I/O Module | 9400000
|  | XGR-E12P | Base board (Ext.), 12 slots for I/O Module | 12100000
|  | XGR-E08P | Base board (Ext.), 8 slots for I/O Module | 10400000
|  | XGR-E12H | Base board (Ext.) for dual ring | 13400000
| Sync. Cable | XGC-F201 | LC type optical cable (multi core), length: 2 m | 2000000
|  | XGC-F501 | LC type optical cable (multi core), length: 5 m | 2550000
| Dummy Module | XGR-DMMA | Dummy Module | 400000
Stand Alone Type | Modbus | GSL-TR4C1 | 32 Tr.(Sink) Output, 0.1A, Modbus(RS-422/485), Removable terminal block | 6000000
|  | GSL-TR2C1 | 16 Tr.(Sink) Output, 0.1A, Modbus(RS-422/485), Removable terminal block | 5100000
|  | GSL-RY2C | 16 Ry. Output, Modbus(RS-422/485), Removable terminal block | 5300000
|  | GSL-DT4C1 | 16 DC Input(Sink/Source) / 16 Tr. Output(Sink), 0.1A, Modbus(RS-422/485), Removable terminal block | 6000000
|  | GSL-D24C | 32 DC Input(Sink/Source), Modbus(RS-422/485), Removable terminal block | 6000000
|  | GSL-D22C | 16 DC Input(Sink/Source), Modbus(RS-422/485), Removable terminal block | 4700000
| Rnet | GRL-TR4C | 32 Tr.(Source) Output, 0.5A, Rnet, Removable terminal block | 5450000
|  | GRL-TR4C-G3 | 32 Tr.(Source) Output, 0.5A, Rnet, Removable terminal block | 6000000
|  | GRL-TR4C1 | 32 Tr.(Sink) Output, 0.5A, Rnet, Removable terminal block | 5450000
|  | GRL-TR4C1-G3 | 32 Tr.(Sink) Output, 0.5A, Rnet, Removable terminal block | 6000000
|  | GRL-TR2C | 16 Tr.(Source) Output, 0.5A, Rnet, Removable terminal block | 4600000
|  | GRL-TR2C-G3 | 16 Tr.(Source) Output, 0.5A, Rnet, Removable terminal block | 5100000
|  | GRL-TR2C1 | 16 Tr.(Sink) Output, 0.5A, Rnet, Removable terminal block | 4600000
|  | GRL-TR2C1-G3 | 16 Tr.(Sink) Output, 0.5A, Rnet, Removable terminal block | 5100000
|  | GRL-RY2C | 16 Ry. Output, Rnet, Removable terminal block | 5450000
|  | GRL-RY2C-G3 | 16 Ry. Output, Rnet, Removable terminal block | 6000000
|  | GRL-DT4C | 16 DC Input(Sink/Source) / 16 Tr. Output(Sink), 0.5A, Rnet, Removable terminal block | 5000000
|  | GRL-DT4C-G3 | 16 DC Input(Sink/Source) / 16 Tr. Output(Sink), 0.5A, Rnet, Removable terminal block | 5700000
|  | GRL-DT4C1 | 16 DC Input(Sink/Source) / 16 Tr. Output(Sink), 0.5A, Rnet, Removable terminal block | 5000000
|  | GRL-DT4C1-G3 | 16 DC Input(Sink/Source) / 16 Tr. Output(Sink), 0.5A, Rnet, Removable terminal block | 5700000
|  | GRL-D22C | 16 DC Input(Sink/Source), Rnet, Removable terminal block | 4250000
|  | GRL-D22C-G3 | 16 DC Input(Sink/Source), Rnet, Removable terminal block | 4800000
|  | GRL-D24C | 32 DC Input(Sink/Source), Rnet, Removable terminal block | 5000000
|  | GRL-D24C-G3 | 32 DC Input(Sink/Source), Rnet, Removable terminal block | 5700000
| Profibus DP | GPL-TR4C1 | 32 Tr.(Sink) Output, 0.5A, Profibus-DP, Removable terminal block | 6000000
|  | GPL-TR4C | 32 Tr.(Source) Output, 0.5A, Profibus-DP, Removable terminal block | 6000000
|  | GPL-TR2C1 | 16 Tr.(Sink) Output, 0.5A, Profibus-DP, Removable terminal block | 4900000
|  | GPL-TR2C | 16 Tr.(Source) Output, 0.5A, Profibus-DP, Removable terminal block | 4900000
|  | GPL-RY2C | 16 Ry. Output, Profibus-DP, Removable terminal block | 6000000
|  | GPL-DT4C1 | 16 DC Input(Sink/Source) / 16 Tr. Output(Sink), 0.5A, Profibus-DP, Removable terminal block | 6000000
|  | GPL-DT4C | 16 DC Input(Sink/Source) / 16 Tr. Output(Source), 0.5A, Profibus-DP, Removable terminal block | 6000000
|  | GPL-D24C | 32 DC Input(Sink/Source), Profibus-DP, Removable terminal block | 6000000
|  | GPL-D22C | 16 DC Input(Sink/Source), Profibus-DP, Removable terminal block | 5350000
|  | GPL-DV4C | Analog Voltage output, 4 channels, Profibus-DP, Removable terminal block | 15000000
|  | GPL-DC4C | Analog Current output, 4 channels, Profibus-DP, Removable terminal block | 15000000
|  | GPL-AV8C | Analog Voltage input, 8 channels, Profibus-DP, Removable terminal block | 16200000
|  | GPL-AC8C | Analog Current input, 8 channels, Profibus-DP, Removable terminal block | 16200000
| DeviceNet | GDL-TR4C1 | 32 Tr.(Sink) Output, 0.5A, DeviceNet, Removable terminal block | 6300000
|  | GDL-TR4C | 32 Tr.(Source) Output, 0.5A, DeviceNet, Removable terminal block | 6300000
|  | GDL-TR2C1 | 16 Tr.(Sink) Output, 0.5A, DeviceNet, Removable terminal block | 4800000
|  | GDL-TR2C | 16 Tr.(Source) Output, 0.5A, DeviceNet, Removable terminal block | 4800000
|  | GDL-RY2C | 16 Ry. Output, DeviceNet, Removable terminal block | 6200000
|  | GDL-DT4C1 | 16 DC Input(Sink/Source) / 16 Tr. Output(Sink), 0.5A, DeviceNet, Removable terminal block | 6300000
|  | GDL-DT4C | 16 DC Input(Sink/Source) / 16 Tr. Output(Sourc), 0.5A, DeviceNet, Removable terminal block | 6300000
|  | GDL-D24C | 32 DC Input(Sink/Source), DeviceNet, Removable terminal block | 6300000
|  | GDL-D22C | 16 DC Input(Sink/Source), DeviceNet, Removable terminal block | 4800000
| RAPIEnet+ | GEL-D24C | 32 DC Input(Sink/Source), RAPIEnet+, Removable terminal block | 7600000
|  | GEL-DT4C1 | 16 DC Input(Sink/Source) / 16 Tr. Output(Sourc), 0.5A, RAPIEnet+, Removable terminal block | 7600000
|  | GEL-TR4C1 | 32 Tr.(Sink) Output, 0.5A, RAPIEnet+, Removable terminal block | 7600000
|  | GEL-RY2C | 16 Ry. Output, RAPIEnet+, Removable terminal block | 8250000
|  | GEL-AV8C | Analog Voltage input, 8 channels, RAPIEnet+, Removable terminal block | 11450000
|  | GEL-AC8C | Analog Current input, 8 channels, RAPIEnet+, Removable terminal block | 11450000
|  | GEL-DV4C | Analog Voltage output, 4 channels, RAPIEnet+, Removable terminal block | 12700000
|  | GEL-DC4C | Analog Current output, 4 channels, RAPIEnet+, Removable terminal block | 12700000
Expandable Type | RAPIEnet+ RAPIEnet, Ethernet/IP, Modbus TCP/IP, BOOTP, DHCP | XEL-BSSRT | RAPIEnet, Ethernet/IP, Modbus TCP/IP, BOOTP, DHCP + adapter(Electrical-Electrical) | 9200000
|  | XEL-BSSRF | RAPIEnet, Ethernet/IP, Modbus TCP/IP, BOOTP, DHCP + adapter(Optical-Optical) | 12400000
|  | XEL-BSSRH | RAPIEnet, Ethernet/IP, Modbus TCP/IP, BOOTP, DHCP + adapter(Electrical-Optical) | 10800000
| Profibus DP | XPL-BSSA | Profibus DP adapter | 7500000
| DeviceNet | XDL-BSSA | DeviceNet adapter | 8900000
| Rnet | XRL-BSSA | Rnet adapter | 7200000
Terminal board |  | XTB-40H (TG7-1H40S) | PLC,TERMINAL BOARD, 40P | 700000
Relay (NPN) |  | R32C-NS5A-40P | PLC,RELAY BOARD,32 Point(NPN) | 6700000
Relay (PNP) |  | R32C-PS5A-40P | PLC,RELAY BOARD,32 Point(PNP) | 6700000
Cable |  | C40HF-05PB-XGP1 | PLC,CABLE ASS'Y,40p-40p,0.5m | 700000
|  | C40HF-10PB-XGP1 | PLC,CABLE ASS'Y,40p-40p,1m | 830000
|  | C40HF-15PB-XGP1 | PLC,CABLE ASS'Y,40p-40p,1.5m | 950000
|  | C40HF-20PB-XGP1 | PLC,CABLE ASS'Y,40p-40p,2m | 1150000
|  | C40HF-30PB-XGP1 | PLC,CABLE ASS'Y,40p-40p,3m | 1210000
|  | C40HF-05PB-1 | PLC,CABLE ASS'Y,40p-40p,0.5m | 820000
|  | C40HF-10PB-1 | PLC,CABLE ASS'Y,40p-40p,1m | 830000
|  | C40HF-15PB-1 | PLC,CABLE ASS'Y,40p-40p,1.5m | 950000
|  | C40HF-20PB-1 | PLC,CABLE ASS'Y,40p-40p,2m | 1150000
|  | C40HF-30PB-1 | PLC,CABLE ASS'Y,40p-40p,3m | 1210000
|  | C40HH-05SB-XBE | PLC,CABLE ASS'Y,40p-40p,0.5m | 710000
|  | C40HH-10SB-XBE | PLC,CABLE ASS'Y,40p-40p,1m | 830000
|  | C40HH-15SB-XBE | PLC,CABLE ASS'Y,40p-40p,1.5m | 950000
|  | C40HH-20SB-XBE | PLC,CABLE ASS'Y,40p-40p,2m | 1150000
|  | C40HH-30SB-XBE | PLC,CABLE ASS'Y,40p-40p,3m | 1210000
|  | C40HF-05PB-1B | PLC,CABLE ASS'Y,40p-40p,0.5m | 820000
|  | C40HF-10PB-1B | PLC,CABLE ASS'Y,40p-40p,1m | 830000
|  | C40HF-15PB-1B | PLC,CABLE ASS'Y,40p-40p,1.5m | 950000
|  | C40HF-20PB-1B | PLC,CABLE ASS'Y,40p-40p,2m | 1150000
|  | C40HF-30PB-1B | PLC,CABLE ASS'Y,40p-40p,3m | 1210000
|  | C40HF-05PB-3 | PLC,CABLE ASS'Y,40p-40p,0.5m | 820000
|  | C40HF-10PB-3 | PLC,CABLE ASS'Y,40p-40p,1m | 830000
|  | C40HF-15PB-3 | PLC,CABLE ASS'Y,40p-40p,1.5m | 950000
|  | C40HF-20PB-3 | PLC,CABLE ASS'Y,40p-40p,2m | 1150000
|  | C40HF-30PB-3 | PLC,CABLE ASS'Y,40p-40p,3m | 1210000
|  | R40H/20HH-05S-XBM3 | PLC,CABLE ASS'Y,20px2-40p,0.5m | 1000000
|  | R40H/20HH-10S-XBM3 | PLC,CABLE ASS'Y,20px2-40p,1m | 1050000
|  | C40HH-05SB-XBI | PLC,CABLE ASS'Y,40p-40p,0.5m | 710000
|  | C40HH-10SB-XBI | PLC,CABLE ASS'Y,40p-40p,1m | 830000
|  | C40HH-15SB-XBI | PLC,CABLE ASS'Y,40p-40p,1.5m | 950000
|  | C40HH-20SB-XBI | PLC,CABLE ASS'Y,40p-40p,2m | 1150000
|  | C40HH-30SB-XBI | PLC,CABLE ASS'Y,40p-40p,3m | 1210000
|  | C40HF-05PB-3 | PLC,CABLE ASS'Y,40p-40p,0.5m | 820000
|  | C40HF-10PB-3 | PLC,CABLE ASS'Y,40p-40p,1m | 830000
|  | C40HF-15PB-3 | PLC,CABLE ASS'Y,40p-40p,1.5m | 950000
|  | C40HF-20PB-3 | PLC,CABLE ASS'Y,40p-40p,2m | 1150000
|  | C40HF-30PB-3 | PLC,CABLE ASS'Y,40p-40p,3m | 1210000
Download cable |  | K1C-50A | Computer - PLC Cable RS-232C | 1210000
|  | PMC-310S | Connection cable(PC to PLC), 9pin(PC)-6pin(PLC), Soft tube type cable for XBM | 630000
|  | USB-301A 2.0 | Connection cable(PC to PLC/HMI), USB 2.0 | 630000
Battery |  | XGT CPU | BATT,LITHIUM,CR17335-CN763S,3V,2AH,MITSUBISHI | 510000
|  | XBC & XEC | BATT,LITHIUM,CR2032,WK13,3V,220mAh,MAXELL | 730000
|  | XGB U | BATT,LITHIUM,XL-050H,3.6V,XENO ENERGY | 1100000
Pnet connector |  | GPL-CON(M) | Pnet connector (Master) | 1340000
|  | GPL-CON(s) | Pnet connector (Slave) | 1340000
XMC Motion controller |  | XMC-E08A | Stand alone motrion controller (Analog I/O), 8 Axes | 28500000
|  | XMC-E16A | Stand alone motrion controller (Analog I/O), 16 Axes | 30100000
|  | XMC-E32A | Stand alone motrion controller (Analog I/O), 32 Axes | 30000000
|  | XMC-E32C | Stand alone motrion controller (Cnet), 32 Axes | 30000000
|  | XMC-E08A/DC | Stand alone motrion controller (Analog I/O), 8 Axes | 28500000
|  | XMC-E16A/DC | Stand alone motrion controller (Analog I/O), 16 Axes | 30100000
|  | XMC-E32A/DC | Stand alone motrion controller (Analog I/O), 32 Axes | 31700000
|  | XMC-E32C/DC | Stand alone motrion controller (Cnet), 32 Axes | 31700000
EtherCAT Smart I/O adaptor |  | XEL-BSSCT | EtherCAT Smart I/O adaptor | 7900000
- GHI CHÚ: Giá này chưa bao gồm VAT | - GHI CHÚ: Giá này chưa bao gồm VAT

## HMI
BẢNG GIÁ HMI LS - HÀN QUỐC
(Áp dụng từ ngày 15-04-2026)
Tên hàng |  |  | Diễn Giải | Đơn giá (VNĐ)
XP10 | 4.1 inch | XP10BKA/DC | 4.1'' Mono green LCD(192×64Dot), DC24V power | 4600000
|  | XP10BKB/DC | 4.1'' Mono green LCD(192×64Dot), DC24V power (built-in RTC) | 7200000
eXP2 | 4.3 Inch | eXP2-0400D | 4.3’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port | 6600000
|  | eXP2-0400D-EX | 4.3’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port, IP65 / NEMA 4X | 6600000
| 5.6 Inch | eXP2-0500D | 5.6’’ TFT LCD, 18Bit Color (65,536), 256 Colors, DC24V power based on Win CE core with Ethernet port | 11300000
|  | eXP2-0502D | 5.6’’ TFT LCD, 18Bit Color (65,536), DC24V power based on Win CE core | 11000000
| 7 Inch | eXP2-0702D | 7’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core | 8400000
|  | eXP2-0710D | 7’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE Pro with Ethernet port | 10600000
|  | eXP2-0700D | 7’’ TFT LCD, 24Bit Color (16.7M) DC24V power based on Win CE core with Ethernet port | 8700000
|  | eXP2-0700D-EX | 7’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port, IP65 / NEMA 4X | 10800000
|  | eXP2-0701D | 7’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port, Micro SD Slot | 8900000
|  | eXP2-0701D-EX | 7’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port, Micro SD Slot, IP65 / NEMA 4X | 11000000
|  | eXP2-1010D | 10.1’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE Pro with Ethernet port | 15200000
| 10.1 Inch | eXP2-1000D | 10.1’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port | 12500000
|  | eXP2-1000D-EX | 10.1’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port, IP65 / NEMA 4X | 15300000
|  | eXP2-1001D | 10.1’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port, Micro SD Slot | 12700000
|  | eXP2-1001D-EX | 10.1’’ TFT LCD, 24Bit Color (16.7M), DC24V power based on Win CE core with Ethernet port, IP65 / NEMA 4X, Micro SD Slot | 15500000
iXP2 | 8.4 inch | iXP2-0800D | 8.4" TFT 16,777,216 colors, SVGA(800×600 dots), DC12/24V power, based on Win CE core | 33800000
|  | iXP2-0800A | 8.4" TFT 16,777,216 colors, SVGA(800×600 dots), AC100~240V power, based on Win CE core | 33800000
|  | iXP2-0800A-EX | 8.4" TFT 16,777,216 colors, SVGA(800×600 dots), AC100~240V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 34500000
|  | iXP2-0800D-EX | 8.4" TFT 16,777,216 colors, SVGA(800×600 dots), DC12/24V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 34500000
| 10.4 inch | iXP2-1000A | 10.4" TFT 16,777,216 colors, SVGA(800×600 dots), AC100~240V power, based on Win CE core | 39600000
|  | iXP2-1000D | 10.4" TFT 16,777,216 colors, SVGA(800×600 dots), DC12/24V power, based on Win CE core | 39600000
|  | iXP2-1000A-EX | 10.4" TFT 16,777,216 colors, SVGA(800×600 dots), AC100~240V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 41100000
|  | iXP2-1000D-EX | 10.4" TFT 16,777,216 colors, SVGA(800×600 dots), DC12/24V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 41100000
| 12.1 inch | iXP2-1200A | 12.1" TFT 16,777,216 colors, SVGA(800×600 dots), AC100~240V power, based on Win CE core | 44200000
|  | iXP2-1200D | 12.1" TFT 16,777,216 colors, SVGA(800×600 dots), DC12/24V power, based on Win CE core | 44200000
|  | iXP2-1200A-EX | 12.1" TFT 16,777,216 colors, SVGA(800×600 dots), AC100~240V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 44200000
|  | iXP2-1200D-EX | 12.1" TFT 16,777,216 colors, SVGA(800×600 dots), DC12/24V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 44200000
| 15 inch | iXP2-1500A | 15" TFT 16,777,216 colors, XGA(1024×768 dots), AC100~240V power, based on Win CE core | 53500000
|  | iXP2-1500D | 15" TFT 16,777,216 colors, XGA(1024×768 dots), DC12/24V power, based on Win CE core | 53500000
|  | iXP2-1500A-EX | 15" TFT 16,777,216 colors, XGA(1024×768 dots), AC100~240V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 53500000
|  | iXP2-1500D-EX | 15" TFT 16,777,216 colors, XGA(1024×768 dots), DC12/24V power, based on Win CE core, Explosion Certi.(IECEx, ATEX) | 53500000
Handy | 7 Inch | HMI, iXP2H-0702D05 | RS-232C, Enet, 5M cable | 61800000
|  | HMI, iXP2H-0702D10 | RS-232C, Enet, 10M cable | 61800000
|  | HMI, iXP2H-0704D05 | RS-485, Enet, 5M cable | 61800000
|  | HMI, iXP2H-0704D10 | RS-485, Enet, 10M cable | 61800000
|  | HMI, iXP2O-JB0D | Handy Junction box | 5700000
wXP | - | wXP | USB License key for using wXP on PC | 19100000
Develper & Runtime Version |  | InfoU-RC-75 | 75 tags | 14000000
|  | InfoU-RC-150 | 150 tags | 30100000
|  | InfoU-RC-500 | 500 tags | 56100000
|  | InfoU-RC-1K | 1,000 tags | 68100000
|  | InfoU-RC-2K | 2,000 tags | 80200000
|  | InfoU-RC-MAX | Unlimited tags | 112300000
Runtime Version |  | InfoU-RT-75 | 75 tags | 14000000
|  | InfoU-RT-150 | 150 tags | 24100000
|  | InfoU-RT-500 | 500 tags | 40100000
|  | InfoU-RT-1K | 1,000 tags | 52100000
|  | InfoU-RT-2K | 2,000 tags | 64200000
|  | InfoU-RT-MAX | Unlimited tags | 88200000
Web version |  | InfoU-OP-WEBMAX | InfoU-RC + Web server [Unlimited access] | 372800000
|  | InfoU-OP-WEBMAX/150 | unlimited client license + InfoU-RC-150 | 56300000
|  | InfoU-OP-WEBMAX/500 | unlimited client license + InfoU-RC-500 | 105100000
|  | InfoU-OP-WEBMAX/1K | unlimited client license + InfoU-RC-1K | 127600000
|  | InfoU-OP-WEBMAX/2K | unlimited client license + InfoU-RC-2K | 150100000
Manual |  | MANUAL,ENGLISH,InfoU | InfoU English manual | 1900000
- GHI CHÚ: Giá này chưa bao gồm VAT